Prevention of Environmental Cross-Contamination

with Clostridium difficile bacteria using

SKLAR ® Disinfecting Cleaner

##### June 2005- J. Wagner

Clostridium difficile is an anaerobic, spore-forming gram-positive rod. C. difficile is shed in two distinct physical states; vegetative bacterial cells and spores. Concerns relating to outbreaks and colonization with C. difficile have been reported from hospitals and long-term facilities for the past decade.  Endemic infections due to C. difficile have identified that patient-to-patient transmission of this microorganism can occur via hands, contaminated patient-care equipment and /or via environmental surfaces.

Recommendations for Control and Prevention:

- Facilities with endemic C. difficile should focus control efforts on special care units and other areas where the transmission rate is highest. Such units may serve as a reservoir of C. difficile enabling spread to other units when patients are transferred or when personnel move from area to area.

- In facilities with ongoing C. difficile transmission, assess the adequacy and frequency of cleaning procedures for disinfecting environmental surfaces such as bedrails, carts, doorknobs, faucet handles, commode seats, computer terminals, knobs of electronic equipment such as patient-care monitors, infant care equipment, bassinets, bedside commodes and ensure procedure compliance.  Surviving C. difficile exposed to the air on surfaces for periods exceeding 4- 6 hours will form spores rendering them impossible to kill on environmental surfaces.  Frequent cleaning and disinfection will help to reduce transmission by killing C. difficile bacteria cells prior to their ability to form spores and by the physical removal of those that do form spores.

- If possible, dedicate the use of medical equipment and devices to a single patient or cohort.  If such items are used between patients, clean and disinfect them thoroughly between uses.

Extensive environmental contamination with C.difficile has been noted in some studies. A recent laboratory study following the AOAC Germicidal Spray Test method as required by the US Environmental Protection Agency and sponsored by Micro-Scientific Industries, Inc. verified the ability of  SKLAR brand disinfectant to kill C. difficile vegetative bacteria cells with a three (3) minutes contact time at room temperature.

Additional Reading and References

Lozniewski, A, Rabaud, Dotto, E, et al.  Laboratory diagnosis of Clostridium difficile associated diarrhea and colitis. Journal of Clinical Microbiology,

2001; 39 (5): 996-998

Johnson, S, and Gerding, DN. Clostridium difficile-associated diarrhea. Clinical Infectious Diseases, 1998; 26 (5): 1027-1036

Massachusetts Department of Public Health, Division of Epidemiology and Immunization, Clostridium difficile, Infection Control Guidelines for Long Term Care Facilities 2003

McDonald, S, Clostridium difficile-Associated Diarrhea Facts. The Kinston General Hospital Infection Control Service, 2002

Centers for Disease Control and Prevention, CDS’s Issue is Healthcare Settings, Gastrointestinal Infections, Control of Clostridium difficile-Associated Disease (CDAD) 2003